## Slide 1: Material Science Stephen Fisher, PE
UND Senior Design Project;
  Local HVAC example D1 Mini by Wemos
  Arduino platform clone
  One thermistor sensor on local WI-FI for critical food storage applications
  ThinkSpeak on-line graphing, monitoring and alarms
  Google documents / Personal web site
Notes: UND project notes- PowerPoint
Marvin Windows and Doors
Stephen Fisher, PE
8/22/2017

## Slide 2: Material Science Stephen Fisher, PE
Need;
  Home monitoring of conditions around window products in buildings
  Jeld-Win in Oregon does this for themselves and other critical applications, libraries, materials storage, etc,.. Marvin has a number of HoBo field sensors and monitors
  GSM phone is often needed because of Wi-Fi password security
  Off the shelf-parts, assembly, integration into user-friendly systems
  Open hardware, software systems available to others on project web-site. BOM download counter. Stand alone web domain; http://www.project_name.org/

## Slide 3: Material Science Stephen Fisher, PE
Desired attributes;
  BeagleBone, Arduino example (low-cost focus)
  Wi-Fi and GSM cell external link
  Multiple temperature, %RH and differential pressure sensors (other generic, low-voltage inputs)
  OneDrive or Google document data storage
  Phone App, live data charting, Marvin controlled web-site for confidential access by password
  Power off-on, safe power-up
  Phone charger power or similar (low-power, low-voltage application)

## Slide 4: Material Science Stephen Fisher, PE
Work packages;
  Controller selection
  Software/programing
  Sensors (error analysis, power, output, calibration)
  Packaging, cooling, electronic projection (robust and simple)
  Perforated board, soldered assembly
  Wi-Fi to store date on OneDrive
  Documentation to field multiple packages
  2 months of testing of final board (package design)

## Slide 5: Material Science Stephen Fisher, PE
Work package, options by priority;
  #1 GSM phone data transfer
  #2, Remote software upgrades
  #3, Solar power – battery options
  #1, Phone app graphing (android), website secure monitoring, and data presentation

## Slide 6: Material Science Stephen Fisher, PE
Project plan printed copies and by email;
  stfisher@Marvin.com
Contact information;
  Stephen Fisher, PE
  stfisher@Marvin.com
  218-386-4141, 6-1737
  8/22/2017